Attachment No. 3 to Request for Quotation (ToR)

QUOTATION FORM

Contractor information:

........................................................................................................................................

(full name / company name, address)

........................................................................................................................................

depending on entity type:

| PESEL Personal Id. No. (if applicable):……………………………… | KRS (National Court Register)/CEIDG (Central Registration and Information on Business)(if applicable): …………………….. |
| --- | --- |
| REGON Statistical Id. No. (if applicable): …………………. | VAT Id. No. (if applicable): ……………………... |
| EU VAT Id. No. (if applicable): .................... |
| E-mail address: ………………………………………………………………………………... |
| Tel.: ………………………………………………………………………………...................... |

represented by: ………………………………………………………………………………

(full name, title)

Person responsible for Ordering Party contact:

………………………………… tel.: …………………………… e- mail: …………………………………..

Contractor’s obligations

In response to the Request for Quotation (ToR) for the procurement procedure, conducted in the form of REQUEST FOR QUOTATION– PRINCIPLE OF COMPETITIVENESS as part of the Project “Implementation of process innovation in Pharmaceutical Production Company Hasco-Lek S.A. in the form of computer-aided analytical and process data interpretation for the purpose of defining project space in the course of research and development activities regarding new products by way of purchasing specialist equipment and software”

Task: Purchase of the equipment for the Technological Laboratory – PURCHASE OF A LABORATORY BLISTER MACHINE

Case number: 2017/HL/14

- We offer to fulfil the order:

- for the flat-rate price, including % VAT, of .......………………………..,

(say: ..............................................................................................................................) including:

net amount of ………………………….................. (say: ......................................)

VAT in the amount of …………………………… (say:......................................)

- The contractor undertakes to fulfil the order within ………………… calendar days of the date of execution of the Agreement, but not later than by 31st May 2018 (“Completion Date”). The maximum lead time for the Subject of the Order shall be 126 calendar days of signing the agreement and may not exceed the date of 31.05.2018.

- The contractor shall provide a written quality guarantee to the Ordering Party regarding the equipment delivered, for the period of ……………….. months, calculated from the day of receipt of the order, i.e. from the date of signing the Final Fault-Free Acceptance Report by the Ordering Party and the Contractor. The minimum required quality guarantee period shall be 12 months.

- We represent that we will fulfil the subject of the order

- without employing equivalent solutions*.

- with the employment of equivalent solutions, and that we submit the documents unambiguously confirming the equivalence of the solutions*.

*– cross out as necessary.

- We represent that we have read the procedure documentation and we have no reservations as regards the documentation, and that we have acquired the necessary information required for appropriate preparation of the quotation, its valuation and for fulfilment of the order.

- We represent that our quotation shall be binding for the period indicated in the Request for Quotation (ToR), i.e. 60 days, calculated from the due date for quotation submission.

- We hereby state that

    - the price indicated in the quotation includes all costs necessary for order fulfilment;

    - we accept the provisions of the agreement and that we have no remarks or reservations, and in the event of selecting our quotation we agree to enter into an agreement by the date indicated by the Ordering Party;

    - we agree that our personal data be processed in accordance with the applicable provisions of the law.

- Information on tax obligation: We inform that selecting our quotation will not give rise to/will give rise to*cross out as necessary tax obligation on the part of the Ordering Party for the following goods:

| No. | Name (type) of goods | Value (tax excluded) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| … |  |  |

I declare that I have/do not have permanent place of business in Poland.

I declare that I am/ am not registered for the purpose of the goods and services tax in Poland.

- TRADE SECRET

We inform that we restrict the following information:

.............................................................................................................................................. (specify the information)

included in the documents: ....................................................................., which constitute trade secret under Art. 11, Sec. 4 of the Act on Combating Unfair Competition of 16th April 1993 (Journal of Laws of 2003, No. 153, Item 1503, as amended), and may not be disclosed to other parties to the procedure.

We simultaneously demonstrate that the restricted information constitutes the company trade secret based on the following grounds:

JUSTIFICATION (filling in is mandatory)

………………………………………………………………………………………………………………………………………………………………………………………………………………Note: Restricted information must be appropriately marked by means of a clearly visible inscription “CONFIDENTIAL – only to the information of the Ordering Party” on the respective documents, and submitted in a separate envelope inside the file, appropriate references made in their place.

Informed on the criminal liability for providing false information, as specified in Art. 273 of the Criminal Code of 6th June 1997 (Journal of Laws No. 88, Item 553, as amended) (“CC”) – offence against credibility of documents, I hereby represent that all information provided hereinabove is up-to-date and true and was provided with full awareness of the consequences of misleading the Ordering Party as regards providing information.

|  |  | Stamp and signature |
| --- | --- | --- |
| ………………..…, this ……… day of ………..... (place of signing) |  | …………………………………….. (authorised representative or representatives of the Contractor) |

SPECIFICATION COMPLIANCE SHEET

Subject of the order:  PURCHASE OF A LABORATORY BLISTER MACHINE

Product Use Name: ………………………………………………………….....................

Country of origin …………………………………………………………………................

Year of manufacture ……………………..…………………………………….................

| No. | Required parameters | (YES/NO) | Description of the offered parameters* |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4* |
| 1 | Brand-new laboratory blister machine of the following boundary conditions: |  |  |
| 2 | Possible packing into different types of film, including forming of blisters: PVC/PVDC-ALU, ALU-ALU |  |  |
| 3 | Maximum cavity depth: for PVC/PVDC-ALU: not less than 14 mm; for ALU-ALU: not less than 10 mm |  |  |
| 4 | Two blister formats for PVC/PVDC-ALU blisters, including: |  |  |
| 5 | 1 format for round pills |  |  |
| 6 | 1 format for oval pills |  |  |
| 7 | Two blister formats for ALU-ALU blisters, including: |  |  |
| 8 | 1 format for round pills |  |  |
| 9 | 1 format for oval pills |  |  |
| 10 | Interchangeability of formats |  |  |
| 11 | Power supply: electrical, 230 V |  |  |
| 12 | Countertop appliance measuring not more than width/depth/height 700 mm/800 mm/1000 mm (height not including feet) and not heavier than 150 kg |  |  |
| Documentation requirements |
| 13 | a. Qualification documentation |  |  |
| 14 | b. Technical documentation (list of components, instruction manual) |  |  |
| 15 | c. Validation documentation |  |  |
| 16 | d. Warranty Cards |  |  |

*) enter the offered parameters and provide the range compliant with the Ordering Party’s requirements.

Parameters specified in column 2 are minimal parameters. Offers that will not comply with these parameters will be rejected.

Informed on the criminal liability for providing false information, as specified in Art. 273 of the Criminal Code of 6th June 1997 (Journal of Laws No. 88, Item 553, as amended) (“CC”) – offence against credibility of documents, I hereby represent that all information provided hereinabove is up-to-date and true and was provided with full awareness of the consequences of misleading the Ordering Party as regards providing information.

|  |  | Stamp and signature |
| --- | --- | --- |
| ………………..…, this ……… day of ………..... (place of signing) |  | …………………………………….. (authorised representative or representatives of the Contractor) |